Making the Change from CAT to Capture
Susan Mitchell
Transfusion Lab Manager
William Harvey, EKHUFT

---
What we Had
Three main sites in East Kent
Different analyser configurations on each site
WHH- 2 high throughput trickle fed analysers
K&CH- 2 batch fed analysers
QEQM- I high throughput, 1 batch fed
All CAT technology analysers

---
Why The Need For Change
Aging/unreliable analysers
Staff disillusioned with current analysers due to unreliability and increasing workload
Poor customer service from existing supplier
Long overdue to go out to tender

---
All Change
First Neo Iris installed October 2018
Training started a week later
Once training given validation started
Interfaced early November
Validation complete end of November
Biggest challenge was getting people especially out of hours staff time on the analysers so went for a phased approach

---
Staff Engagement
Kept staff updated on progress
Talks from Immucor helped
Involved staff in helping write SOP’s, try different loading ideas etc
Staff were very excited and involved
Transitional go live was a big success

---
Take Off
Go live date set
Brought forward to the night shift due to unexpected glitch with existing supplier interface
All was well and very quickly staff started using the Neo Iris all the time
Installation date for second analyser set

---
A New Look

---
Teething Problems
Forgetting strip selection
Occasional forgotten stir ball
Getting reagent orders right
Ironing out SOP’s
Tweaking Immulink/interface settings for local configuration

---
Currently
Analysers well embedded
Minimal downtime
Immulink proving very useful
K&CH seeing negative screens in low dose Dara patients so fewer RCI referrals
Far fewer re-runs of samples due to poor quality cards/spurious results

---
UKAS, Extension to Scope
UKAS Extension to Scope Inspection May 2019
7 findings across the three sites in total
AP drawn up and evidence submitted
Evidence accepted and extension to scope granted
Recent UKAS (2021) inspection had NO findings for Blood Transfusion

---
Measurement of Uncertainty
Is anyone a fan of this in BT?
I am a mathematical dunce!!!
Immulink has made this so much easier
Able to extract data and perform calculations in Excel 
UKAS 2021- inspector said that MoU was best they had seen for BT in >100 inspections

---
Any Questions?
This Photo by Unknown Author is licensed under CC BY-SA